The Voice of the Networks

DNO Common Network Asset Indices Methodology

Version 3.0

Consultation

21 May  2026

Common Network Asset Indices Methodology Proposed Modifications for ED3

# Purpose and Objective

The purpose of this consultation is to seek the views of Stakeholders as to the proposed incremental changes to the Common Network Asset Indices Methodology (CNAIM) from current version (v2.1), as originally published in April 2021, and proposed revised version (v3.0). The proposed revised version revises some of the existing models in light of the experience gained from using the models during the ED3 price control and expands the scope of CNAIM to cover some additional assets classes not covered in the current version in preparation for the ED3 price control period. The responses will be used to support the DNOs submission of the revised version of CNAIM to Ofgem as part of the Network Asset Resilience Measures (NARM) mechanism.

## Executive Summary

In preparation for the ED2 period, the Distribution Network Operators (DNOs) have been asked by Ofgem under the SRRWG Committee to review and revise the current version of CNAIM (v2.1) to expand the number of asset categories encompassed and to make it fit for purpose for the ED3 period to operate under the NARM Incentive regime. The DNOs will propose to Ofgem that CNAIM v3.0 will provide the asset risk models used to create the required NARM return for ED3 and beyond for reporting against the NARM requirements in the ED3 period (1 April 2028 to 31 March 2033). This is to ensure that the same version of CNAIM is used consistently throughout the ED3 process. It is this version of CNAIM and its applicability to ED3 processes that is the subject of this consultation.

As they are only applicable to the use of CNAIM in ED3, the proposed revisions to CNAIM are not covered by the current licence requirements, which are only applicable to the ED3 period or beyond. As there is no specific methodology to follow for consultation on the methodology for the ED3 period, the DNOs have agreed to follow the requirements of Special Licence Condition 9.2 Part C, for the RIIO-ED2 period in consulting on these proposals. The development of CNAIM v3.0 has been jointly undertaken by the six GB DNOs, and NIE Networks with input from Ofgem as to their ED3 specific needs.

Special Condition 9.2 of the RIIO-ED2 price control requires the DNOs, when proposing changes to the CNAIM methodology to consult on these changes and submit to the Authority recommendations for changes and the feedback of stakeholders because of the consultation.

As part of the ED3 Sector Specific Methodology Consultation published on 08 October 2025, Ofgem set out an ambition to expand the scope of NARM beyond the current 61 asset categories to cover a greater proportion of the asset replacement and refurbishment expenditure. In response, the DNOs have investigated the feasibility of introducing additional asset categories into the CNAIM, considering the extent to which the health and criticality of those assets can be evaluated using model structure establish within CNAIM and available or obtainable data, and the extent to which the potential models allow the impact of interventions to be evaluated. The DNOs have also reviewed the existing models to apply learning from operating the methodology during RIIO-ED2.

The review of CNAIM has resulted in several significant changes as well as more minor changes. The significant changes are the addition of a number of new asset categories to the methodology:

- 6.6/11kV Transformer (PM)

- 20kV Transformer (PM)

- 33kV Transformer (PM)

- 33kV Switchgear - Other

- 66kV Switchgear – Other

- 132kV Switchgear - Other

- 132kV Pole

A full list of the changes that are proposed can be found in the accompanying ‘Proposed CNAIM v3.0 Methodology Changes Explained.’ document.

A further consideration for the revised methodology is the way the DNOs propose to refresh the calibration. CNAIM v3.0 uses financial values in FY20/21 currency values, and reference values for elements such as the cost of carbon have been left unchanged. The DNOs propose to update these values to FY25 currency values and reference values without any further consultation once the values have been provided and the methodology is updated.

At the end of the consultation the DNOs will:

- collate the responses received

- Make any reasonable revisions to the Proposed Methodology

- Submit the proposed final version of CNAIM v3.0 together with the DNO CNAIM v3.0 Methodology Explained to Ofgem for their consideration

- Seek Ofgem on behalf of the Authority to direct the use of CNAIM v3.0 for the development of NARM for ED3 and Reporting through the ED3 period.

All DNOs have worked collectively on the development of the Methodology and its implementation. The proposed changes have been raised, reviewed and agreed in a DNO Working Group, with Ofgem input where appropriate, and these proposals are tabled on behalf of all GB licences.

It is our recommendation that the Methodology is duly approved with these amendments incorporated.

The consultation is issued on behalf of the following Companies that, between them hold the fourteen GB Electricity Distribution licences:

National Grid Electricity Distribution

Northern Powergrid

Scottish and Southern Electricity Networks

SP Electricity North West

SP Energy Networks and

UK Power Networks

# Background

## Requirement for a Common Network Asset Indices Methodology

The requirement for a CNAIM grew out of the development of Health Indices in the previous electricity distribution price control (DPCR5), and the use of Criticality (i.e. the relative consequences of an asset’s failure) as an input to the calculation of asset risk for the RIIO-ED1 price control submissions.

The requirement to develop a common approach to the measurement of condition-related risk was set out in Special Licence Condition 9.2 of the RIIO-ED2 licence;

The CNAIM is required to be suitable to achieve the specified Network Asset Indices Methodology Objectives set out in Part A of the condition;

9.2.3	The licensee must have in place and act in accordance with a NARM Methodology which is comprised of:

(a) a Common Network Asset Indices Methodology that complies with the requirements of paragraph 9.2.4; and

    - (b) a Network Asset Indices Methodology that complies with the requirements of paragraph 9.2.6.

9.2.4 The licensee must use best endeavours to work in co-operation with all other Distribution Services Providers to develop and maintain a Common Network Asset Indices Methodology that facilitates the achievement of the NARM Objectives.

9.2.5 The licensee must at all times keep the Common Network Asset Indices Methodology under review and modify it as necessary to ensure that it continues to facilitate the achievement of the NARM Objectives.

9.2.6 The licensee’s Network Asset Indices Methodology must:

(a) enable the licensee to:

i. assess its NARM Assets against the Network Asset Risk Metric;

ii. report in accordance with the RIGs; and

iii. assess its performance against the Baseline Network Risk Output; and

(b) be consistent with the Common Network Asset Indices Methodology.

9.2.7 The licensee must at all times keep its Network Asset Indices Methodology under review and modify it as necessary to ensure it complies with the requirements of paragraph 9.2.6.

## Approach to methodology development

### Working Group

The DNOs originally created a Working Group (NARMS Electricity Distribution Working Group (NEDWG) under the Safety, Resilience and Reliability Working Group (SRRWG) comprising members from each of the six DNO Groups, and with the participation of NIE Networks. This working Group was initially supported by specialists from EA Technology Ltd.

Post the implementation of CNAIM v1.1 this Working Group continued to meet periodically to oversee the requirement to seek commonality and review the methodology, and the group has taken on the development of proposed changes to the CNAIM methodology for ED3.

NEDWG has now created a revised version of CNAIM v3.0 and are consulting on its content before submitting to Ofgem for direction.

If must be noted that there is no process for the creation or direction of the v3.0 for use in RIIO-ED2. CNAIM v3.0 is intended for use in the preparation of the ED3 submission, establishment of the NARMs targets and monitoring against NARMs targets in the ED3 period. CNAIM v2.1 will continue to be used for RIIO-ED2 period, including the RIIO-ED2 closeout.

### Structure of this document

Chapter 3 summarised that have been made from the version of the document directed by Ofgem in 2024.

It should be read alongside the updated version of the Common Network Asset Indices Methodology v3.0 and Proposed CNAIM v3.0 Methodology Changes Explained published in conjunction with this consultation.

# Questions

## Chapter Summary

This chapter lists the changes made from the directed methodologies and identifies those considered as modifications to the Methodology.

## Consultation Questions

In responding to the questions, please provide an explanation or reasoned argument for your response, together with any additional supporting evidence you have in support of your opinion.

There are several changes proposed in the ED3 CNAIM v3.0. These changes are summarised in the accompanying explanation document. Associated within each section of the explanation document there is a further table which includes:

- The reasons for the changes

- References standards and papers supporting the proposals, where appropriate

- Revised tables which have been incorporated to the methodology

- The Asset Categories impacted

- The tables impacted within the methodology

- Equations added or revised

- The impact assessment of the proposed changes.

All changes are designed to either align the methodology with the Ofgem requirements for NARMs in ED3 or better quantify the level of risk because of an asset failure and hence the relative asset failure risk exposure of a Company when compared to other asset classes within the methodology.

Question 1: Do you agree that the additional asset class models added to the methodology are appropriate for inclusion?

Question 2: Do you agree that the changes to existing models are appropriate modifications in line with the NARMS objectives?

Question 3: Do you agree that the overall changes now proposed constitute an appropriate modification to the CNAIM v3.0 Methodology for the ED3 period?

Question 4: With the exception of calibration values to permit the financial values to be updated, do you agree that the additions and revisions to the manner in which the Methodology derives values of Probability of Failure, Consequence of Failure and therefore risk are appropriate?

# Responses

You are invited to respond to our consultation. We have provided a pro-former in Appendix 1 to guide responders through the process. The form is split into three sections, please complete those which you feel are appropriate. Alternatively, please provide responses in a format that is appropriate such as a letter.

Responses should be submitted by email to the ENA secretariat by 1700 on 19 June 2026 to regulation@energynetworks.org. Alternatively, responses by post can be sent to

SP Electricity North West

Hartington Road

Preston

Lancashire

PR1 8AF

All postal correspondence must be marked for the attention of Dan Wilson, Asset Analytics Manager, and must received by 1700 on 19 June 2026

This proposal is tabled on behalf of the licensees listed on page 4 but is hosted on Energy Networks Association’s website.

Unless clearly marked confidential, all responses to the consultation (regardless of original media) will be published on the Energy Networks Association website until 7 August 2026. After that date, copies of the consultation responses as presented to Ofgem can be obtain by writing to:

Electricity Northwest Ltd

Hartington Road

Preston

Lancashire

PR1 8AF

All postal correspondence must be marked for the attention of Dan Wilson, Asset Analytics Manager

and providing either a return postal or e mail address.

Note

All responses will be shared amongst all the DNOs in the Working group and NIE Networks.

# Next Steps

After the closing date has passed, the six GB DNOs (see page 4) who are mandated to conduct this consultation will consider the responses received, together with NIE Networks. A report summarising the responses, together with copies of all received documents will be sent to Ofgem who may either direct the revised Common Network Asset Indices Methodology be adopted or direct that the existing Methodology continue to be implemented. Our proposed timetable for the entire consultation is shown below:

|  | Date |
| --- | --- |
| Consultation published on Electricity Networks Association (ENA) website | 22 May 2026 |
| Consultation closes | 19 June 2026 |
| DNOs present report to Ofgem on proposals and responses to the consultation | No later than 1 September 2026 |

# Appendix

| Optional Pro-forma for responding to this consultation on the Distribution Network Operators Changes proposed changes for CNAIM v3.0 |  |
| --- | --- |
| Responding Organisation: |  |
| Contact Details: (To be used should clarification be required) | Name: Business Address: Business or Mobile Contact Number: e-mail: |
| Publication of Response, unless otherwise indicated the content of this response will be made available to Ofgem. Please indicate if you DO NOT wish this to happen. - I / We give consent for the contents of our response to be made available to Ofgem. - I / We DO NOT give consent for the contents of our response to be made available to Ofgem. Delete as appropriate, it is assumed that permission is given if no positive response is provided. |  |
| Please provide your organisation’s opinion as to the overall and specific proposed changes to this consultation. These will be summarised and submitted to Ofgem at the end of the consultation period. The Overall Comments is provided so that a respondent can provide an overall comment on all matters relating to CNAIM. Please note that there are some changes to the way NARMs will operate in ED3, if these do not impact on the Methodology, we are not seeking opinions as it is possible to submit these via Ofgem’s SSMC. Please use additional sheets / pages if and where appropriate. |  |

Part 1 - Overall Comments

Overall Comments

Part 2 – Specific Proposals

| CNAIM v2.0 Document Section | Explanation Document Section | Proposal – Please indicate your opinion in the box to the right using a “*”. Please add a comment to support your position, especially if you do not agree with our proposal. | Strongly Agree | Agree | Disagree | Strongly Disagree | No Opinion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| New Model: 132kV & EHV Switchgear Other | 3.1 | Creation of full CNAIM model for 33kV Switchgear – Other, 66kV Switchgear – Other, and 132kV Switchgear – Other. Model to align with current structure of other ground mounted switchgear models. |  |  |  |  |  |
| New Model: EHV & HV Pole Mounted Switchgear | 3.2 | Creation of full CNAIM model for EHV and HV pole mounted switchgear category. Model to align with current HV Switchgear (GM) – Primary and HV Switchgear (GM) models. |  |  |  |  |  |
| New Model: Batteries | 3.3 | Creation of full CNAIM model for Battery System asset category. Model to mimic the methodology in place for Transformer and associated assets. |  |  |  |  |  |
| New Model: Overhead Line Conductors (Poles) | 3.4 | To create a model for overhead line pole conductors of voltages from LV to 132kV |  |  |  |  |  |
| New Model: 132kV Poles | 3.5 | Creation of full CNAIM model for 132kV Pole asset category. Model to align with current EHV pole model. Evaluate 132kV Pole reference cost of failure. |  |  |  |  |  |
| New Model: Pole Mounted Transformers | 3.6 | Creation of full CNAIM model for EHV and HV Transformers (PM) asset category. |  |  |  |  |  |
| Methodology: Oil Testing | 4.1 | Introduction of moisture, acidity and breakdown strength calibration tables for synthetic ester and natural ester filled transformers |  |  |  |  |  |
| Methodology: Dissolved Gas Analysis (DGA) | 4.2 | Update of calibration tables to align with international standard. Update of DGA divider value to align with calibration table updates. Consideration of synthetic ester and natural ester in DGA Test Modifier. Amendment of DGA Test Factor to enhance stability of the rate of change calculation. |  |  |  |  |  |
| Methodology: Transformer Furfuraldehyde (FFA). | 4.3 | Update FFA Test Collar calculation to reflect experience with FFA and DP. Update FFA Test Factor to consider percentage change. |  |  |  |  |  |
| Methodology: Ageing Adjustment (Climate) Factor | 4.4 | This proposal offers a means for making adjustments to future deterioration assumptions, through the application of new “ageing adjustment factor” into the calculation of future health. |  |  |  |  |  |
| Methodology: Forecast Ageing Rate | 4.5 | Add a collar to the calculation of Forecast Ageing Rate β2 with a minimum value of β1 x 0.5 for assets > 10 and β1 for assets <= 10 |  |  |  |  |  |
| Methodology: Pole Fittings | 4.6 | Expansion to existing tables within CNAIM, GPG and RIGs to add a new condition factor for poles to reflect the condition of the fittings at the top of the pole |  |  |  |  |  |
| Methodology: Pole Strengthening | 4.7 | Expansion to existing tables within CNAIM, GPG and RIGs to clarify the criteria for poles that have been strengthened |  |  |  |  |  |
| Methodology: Financial Consequence Access Factor | 4.8 | Addition of new column to Financial Consequence Location Factor for OHL |  |  |  |  |  |
| Methodology: Financial Consequence Type Factor – Inter-system Transformer | 4.9 | Addition of new type factor to account for the higher cost of inter-system transformers, reactors and regulators |  |  |  |  |  |
| Methodology: Steel Tower Painting | 4.10 | Introduction of a Cap of 4.4 on the use of ‘Default’ in Observed Conditions |  |  |  |  |  |
| Methodology: Sub Cable | 4.11 | Text changes, definitions and additional condition inputs |  |  |  |  |  |
| Methodology: Switchgear (Ground Mounted): Oil Leaks / Gas Pressure | 4.12 | Update description for Gas Leakage of Switchgear. |  |  |  |  |  |
| Methodology: Pole Top Rot | 4.13 | Amendment to the Top Rot Factor and Collar |  |  |  |  |  |
| Additional comments |  |  |  |  |  |  |  |

Part 3 – Response to Consultation Questions

| Question 1: Do you agree that the overall changes now proposed constitute an appropriate modification to the CNAIM v3.0 Methodology for the ED3 period? | Yes/No |
| --- | --- |
| Question 2: Do you agree that the proposed methodology enhancements improve the overall robustness of CNAIM? | Yes/No |
| Question 3: Do the changes to the methodology made to support the Ofgem requirements and detailed in sections 3 and 4 of the Explanatory document (including the proposed consequential changes) provide better clarity to our stakeholders? | Yes/No |
| Question 4: Do you agree with the proposed expansion to include the new asset categories described in section 3? | Yes/No |
| Question 5: Does the proposal offer a reasonable approach to accounting for future climate change? | Yes/No |
| Additional comments |  |

In addition to the GB DNOs, Northern Ireland Electricity Networks have also contributed to the creation of v3.0

CNAIM v3.0 has been extensively revised and all table, figure and equation reference numbers have been revised.