## Summary - Flex Tenders
|  | Sustain (MW) | Secure (MW) | Dynamic (MW) | Restore (MW) | Reactive Power (MVAr) (if applicable) | DNO | Column
DNO Flexibility Tenders |  | Peak Capacity (MW) | Peak Capacity (MW) | Peak Capacity (MW) | Peak Capacity (MW) | Peak Capacity (MVAr)
ENWL | Contracted for 2018 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2018
| Contracted for 2019 | 0 | 0 | 3 | 0 | 0 | ENWL | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 2.5 | 3.9 | 25.681 | 0 | 0 | ENWL | Tendered for 2020
| Contracted for 2020 | 0 | 0 | 3 | 0 | 0 | ENWL | Contracted for 2020
| Tendered for 2021 | 5 | 6.3082 | 32.9285 | 0 | 0 | ENWL | Tendered for 2021
| Contracted for 2021 | 0 | 0 | 3 | 0 | 0 | ENWL | Contracted for 2021
| Tendered for 2022 | 7.5 | 8.7689 | 41.1194 | 0 | 0 | ENWL | Tendered for 2022
| Contracted for 2022 | 0 | 0 | 3 | 0 | 0 | ENWL | Contracted for 2022
| Tendered for 2023 | 9 | 9.4094 | 15.7659 | 0 | 0 | ENWL | Tendered for 2023
| Contracted for 2023 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2023
| Tendered for 2024 | 10 | 10.0503 | 16.6087 | 0 | 0 | ENWL | Tendered for 2024
| Contracted for 2024 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2024
| Tendered for 2025 | 11 | 10.4905 | 17.2112 | 0 | 0 | ENWL | Tendered for 2025
| Contracted for 2025 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2025
| Tendered for 2026 | 0 | 3.9712 | 15.2076 | 0 | 0 | ENWL | Tendered for 2026
| Contracted for 2026 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2026
| Tendered for 2027 | 0 | 0 | 0 | 0 | 0 | ENWL | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2027
| Tendered for 2028 | 0 | 0 | 0 | 0 | 0 | ENWL | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | ENWL | Contracted for 2028
NPG | Contracted for 2018 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2018
| Contracted for 2019 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 12 | 0 | 0 | 0 | 0 | NPG | Tendered for 2020
| Contracted for 2020 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2020
| Tendered for 2021 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2021
| Contracted for 2021 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2021
| Tendered for 2022 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2022
| Contracted for 2022 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2022
| Tendered for 2023 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2023
| Contracted for 2023 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2023
| Tendered for 2024 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2024
| Contracted for 2024 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2024
| Tendered for 2025 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2025
| Contracted for 2025 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2025
| Tendered for 2026 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2026
| Contracted for 2026 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2026
| Tendered for 2027 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2027
| Tendered for 2028 | 0 | 0 | 0 | 0 | 0 | NPG | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | NPG | Contracted for 2028
SPEN | Contracted for 2018 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2018
| Contracted for 2019 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 0 | 0 | 79.01 | 43.395 | 7.128 | SPEN | Tendered for 2020
| Contracted for 2020 | 0 | 0 | 4.18 | 7.5 | 0 | SPEN | Contracted for 2020
| Tendered for 2021 | 0 | 0 | 33.462 | 48.51 | 8.58 | SPEN | Tendered for 2021
| Contracted for 2021 | 0 | 0 | 4.73 | 7.5 | 0 | SPEN | Contracted for 2021
| Tendered for 2022 | 0 | 0 | 29.502 | 53.9 | 5.016 | SPEN | Tendered for 2022
| Contracted for 2022 | 0 | 0 | 11.4 | 7.5 | 0 | SPEN | Contracted for 2022
| Tendered for 2023 | 53.7178 | 0 | 22.979 | 43.4369 | 6.5622 | SPEN | Tendered for 2023
| Contracted for 2023 | 0 | 0 | 5.23 | 0 | 0 | SPEN | Contracted for 2023
| Tendered for 2024 | 74 | 0 | 0 | 44.9812 | 7 | SPEN | Tendered for 2024
| Contracted for 2024 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2024
| Tendered for 2025 | 94.1 | 0 | 0 | 45.2833 | 7.2 | SPEN | Tendered for 2025
| Contracted for 2025 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2025
| Tendered for 2026 | 158.6 | 0 | 8 | 53.4179 | 8 | SPEN | Tendered for 2026
| Contracted for 2026 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2026
| Tendered for 2027 | 262.4 | 0 | 8.4 | 56.8091 | 9.4 | SPEN | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2027
| Tendered for 2028 | 268.1 | 0 | 0 | 0 | 9.4 | SPEN | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | SPEN | Contracted for 2028
SSEN | Contracted for 2018 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2018
| Contracted for 2019 | 0 | 2 | 2 | 2 | 0 | SSEN | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 2 | 247.5 | 247.5 | 247.5 | 0 | SSEN | Tendered for 2020
| Contracted for 2020 | 0 | 55.2 | 55.2 | 55.2 | 0 | SSEN | Contracted for 2020
| Tendered for 2021 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2021
| Contracted for 2021 | 0 | 192.3 | 192.3 | 192.3 | 0 | SSEN | Contracted for 2021
| Tendered for 2022 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2022
| Contracted for 2022 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2022
| Tendered for 2023 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2023
| Contracted for 2023 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2023
| Tendered for 2024 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2024
| Contracted for 2024 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2024
| Tendered for 2025 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2025
| Contracted for 2025 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2025
| Tendered for 2026 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2026
| Contracted for 2026 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2026
| Tendered for 2027 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2027
| Tendered for 2028 | 0 | 0 | 0 | 0 | 0 | SSEN | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | SSEN | Contracted for 2028
UKPN | Contracted for 2018 | 0 | 0.3 | 0 | 0 | 0 | UKPN | Contracted for 2018
| Contracted for 2019 | 0 | 0.95 | 0 | 0 | 0 | UKPN | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 10.914 | 160.508 | 0 | 0 | 0 | UKPN | Tendered for 2020
| Contracted for 2020 | 1.75 | 31.637 | 72 | 0 | 0 | UKPN | Contracted for 2020
| Tendered for 2021 | 12.643 | 247.679 | 150.343 | 0 | 0 | UKPN | Tendered for 2021
| Contracted for 2021 | 1.91 | 35.721 | 72 | 0 | 0 | UKPN | Contracted for 2021
| Tendered for 2022 | 13.649 | 259.943 | 161.649 | 0 | 0 | UKPN | Tendered for 2022
| Contracted for 2022 | 1.95 | 34.474 | 72 | 0 | 0 | UKPN | Contracted for 2022
| Tendered for 2023 | 14.895 | 271.164 | 183.095 | 0 | 0 | UKPN | Tendered for 2023
| Contracted for 2023 | 1.99 | 38.864 | 72 | 0 | 0 | UKPN | Contracted for 2023
| Tendered for 2024 | 16.582 | 200.689 | 201.482 | 0 | 0 | UKPN | Tendered for 2024
| Contracted for 2024 | 2.03 | 37.114 | 72 | 0 | 0 | UKPN | Contracted for 2024
| Tendered for 2025 | 18.106 | 226.317 | 239.806 | 0 | 0 | UKPN | Tendered for 2025
| Contracted for 2025 | 2.07 | 43.333 | 72 | 0 | 0 | UKPN | Contracted for 2025
| Tendered for 2026 | 19.78 | 253.073 | 285.38 | 0 | 0 | UKPN | Tendered for 2026
| Contracted for 2026 | 2.13 | 47.861 | 72 | 0 | 0 | UKPN | Contracted for 2026
| Tendered for 2027 | 0 | 70.9 | 196.2 | 0 | 0 | UKPN | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | UKPN | Contracted for 2027
| Tendered for 2028 | 0 | 0 | 0 | 0 | 0 | UKPN | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | UKPN | Contracted for 2028
WPD | Contracted for 2018 | 0 | 23.5 | 33.8 | 58.5 | 0 | WPD | Contracted for 2018
| Contracted for 2019 | 0 | 7.3 | 115.8 | 123.1 | 0 | WPD | Contracted for 2019
| Tendered for 2020 (incl. in previous years) | 0.28 | 69.1 | 419 | 488.1 | 0 | WPD | Tendered for 2020
| Contracted for 2020 | 0.28 | 18.3 | 421.5 | 439.8 | 0 | WPD | Contracted for 2020
| Tendered for 2021 | 0 | 69.1 | 419 | 303.8 | 0 | WPD | Tendered for 2021
| Contracted for 2021 | 0 | 14.7 | 363.6 | 378.3 | 0 | WPD | Contracted for 2021
| Tendered for 2022 | 0 | 69.1 | 419 | 303.8 | 0 | WPD | Tendered for 2022
| Contracted for 2022 | 0 | 9.2 | 210.75 | 219.95 | 0 | WPD | Contracted for 2022
| Tendered for 2023 | 0 | 69.1 | 419 | 303.8 | 0 | WPD | Tendered for 2023
| Contracted for 2023 | 0 | 9.2 | 210.75 | 219.95 | 0 | WPD | Contracted for 2023
| Tendered for 2024 | 0 | 49.3 | 254.5 | 303.8 | 0 | WPD | Tendered for 2024
| Contracted for 2024 | 0 | 5.5 | 152.85 | 158.35 | 0 | WPD | Contracted for 2024
| Tendered for 2025 | 0 | 0 | 0 | 0 | 0 | WPD | Tendered for 2025
| Contracted for 2025 | 0 | 0 | 0 | 0 | 0 | WPD | Contracted for 2025
| Tendered for 2026 | 0 | 0 | 0 | 0 | 0 | WPD | Tendered for 2026
| Contracted for 2026 | 0 | 0 | 0 | 0 | 0 | WPD | Contracted for 2026
| Tendered for 2027 | 0 | 0 | 0 | 0 | 0 | WPD | Tendered for 2027
| Contracted for 2027 | 0 | 0 | 0 | 0 | 0 | WPD | Contracted for 2027
| Tendered for 2028 | 0 | 0 | 0 | 0 | 0 | WPD | Tendered for 2028
| Contracted for 2028 | 0 | 0 | 0 | 0 | 0 | WPD | Contracted for 2028
Tendered for 202X - This is the amount of flexibility that has been identified for use in 202X and has been put out to tender that year itself, in earlier years or will be put out to tender in the future. Contracted for YYYY - This is the amount of flexibility that has been contracted through a competitive tendering process to deliver services in the referenced year. This includes services that may have been contracted in previous years for delivery in the referenced year. |  | These cells reflect the procurement activity for each of the services noted above. Note: The data above is based on tendering activities and does not include a range of early market testing activities (such as Expressions of Interests) that DNOs are undertaking to better understand local flexibility.
Industry Total - Contracted for 2018 |  | 0 | 23.8 | 33.8 | 58.5 | 0
Industry Total - Contracted for 2019 |  | 0 | 10.25 | 120.8 | 125.1 | 0
Industry Total - Tendered for 2020 |  | 27.694 | 481.008 | 771.191 | 778.995 | 7.128
Industry Total - Contracted for 2020 |  | 2.03 | 105.137 | 555.88 | 502.5 | 0
Note: Future years have not been aggregated currently because DNOs have not forecast need for the same amount of years and contracted accordingly.

## Flex Tenders
|  |  |  | Sustain (MW) | [5 empty] | Secure (MW) | [5 empty] | Dynamic (MW) | [5 empty] | Restore (MW) |  |  | Reactive Power (MVAr) (if applicable) | [5 empty] | Contracted Flexible Demand Mix | Flexible Generation Mix |  | Storage Mix | Aggregation / Unknown (MW)
DNO Flexibility Tenders |  |  |  | Peak Capacity (MW) | Availability Period (total number of hours per year) | Availability Volume Required (MWh) | Utilisation Volume Required (MWh) | Utilisation - Dispatched (MWh) | Utilisation - Delivered (%) | Peak Capacity (MW) | Availability Period (total number of hours per year) | Availability Volume Required (MWh) | Utilisation Volume Required (MWh) | Utilisation - Dispatched (MWh) | Utilisation - Delivered (%) | Peak Capacity (MW) | Availability Period (total number of hours per year) | Availability Volume Required (MWh) | Utilisation Volume Required (MWh) | Utilisation - Dispatched (MWh) | Utilisation - Delivered (%) | Peak Capacity (MW) | Utilisation - Dispatched (MWh) | Utilisation - Delivered (%) | Peak Capacity (MVAr) | Availability Period (total number of hours per year) | Availability Volume Required (MVArh) | Utilisation Volume Required (MVArh) | Utilisation - Dispatched (MVArh) | Utilisation - Delivered (%) | Flexible Demand (MW) | Renewable - eg: Wind, Solar, Hydro, Biomass (MW) | Non-renewable - eg: Diesel, Gas, Coal (MW) | Storage (MW) | Aggregation / Unknown (MW)
ENWL | 2017 tender | ENWL | Contracted for 2018
| 2018 tenders | ENWL | Tendered for 2019 | 1 | 8760 | 8336.3417 | 8760 | [8 empty] | 23 | 3392.5 | 27406.5169 | 920
|  | ENWL | Contracted for 2019 | 0 | 0 | 0 | 0 | [8 empty] | 3 | 8760 | 26280 | 144
|  | ENWL | Uncontracted for 2019 | 1 |  | 8336.3417 | 8760 | [8 empty] | 23 |  | 27406.5169 | 920
|  | ENWL | Tendered for 2020 | 2.5 | 8760 | 20840.8543 | 21900 | [8 empty] | 23 | 4147.5 | 30431.8688 | 920
|  | ENWL | Contracted for 2020 | 0 | 0 | 0 | 0 | [8 empty] | 3 | 8760 | 26280 | 144
|  | ENWL | Remaining for 2020 | 2.5 |  | 20840.8543 | 21900 | [8 empty] | 23 |  | 30431.8688 | 920
|  | ENWL | Tendered for 2021 | 5 | 8760 | 41681.7086 | 43800 | [8 empty] | 24.5 | 4415 | 33161.2327 | 980
|  | ENWL | Contracted for 2021 | 0 | 0 | 0 | 0 | [8 empty] | 3 | 8760 | 26280 | 144
|  | ENWL | Remaining for 2021 | 5 |  | 41681.7086 | 43800 | [8 empty] | 24.5 |  | 33161.2327 | 980
|  | ENWL | Tendered for 2022 | 7.5 | 8760 | 62522.563 | 65700 | [8 empty] | 26 | 4528 | 36485.8016 | 1040
|  | ENWL | Contracted for 2022 | 0 | 0 | 0 | 0 | [8 empty] | 3 | 8760 | 26280 | 144
|  | ENWL | Remaining for 2022 | 7.5 |  | 62522.563 | 65700 | [8 empty] | 26 |  | 36485.8016 | 1040
|  | ENWL | Tendered for 2023 | 9 | 8760 | 75027.0756 | 78840
|  | ENWL | Contracted for 2023 | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2023 | 9 |  | 75027.0756 | 78840
|  | ENWL | Tendered for 2024 | 10 | 8760 | 83363.4173 | 87600
|  | ENWL | Contracted for 2024 | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2024 | 10 |  | 83363.4173 | 87600
|  | ENWL | Tendered for 2025 | 11 | 8760 | 91699.759 | 96360
|  | ENWL | Contracted for 2025 | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2025 | 11 |  | 91699.759 | 96360
| 2019 tenders | ENWL | Tendered for 2019 | [12 empty] | 0.52212 | 9600 | 1302.5269 | 20.8849
|  | ENWL | Contracted for 2019 | [12 empty] | 0 | 0 | 0 | 0
|  | ENWL | Uncontracted for 2019 | [12 empty] | 0.52212 |  | 1302.5269 | 20.8849
|  | ENWL | Tendered for 2020 | [6 empty] | 3.9 | 2400 | 7215.3279 | 1755 |  |  | 1.559 | 16019 | 4476.6226 | 62.3584
|  | ENWL | Contracted for 2020 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2020 | [6 empty] | 3.9 |  | 7215.3279 | 1755 |  |  | 1.559 |  | 4476.6226 | 62.3584
|  | ENWL | Tendered for 2021 | [6 empty] | 6.3082 | 3167.5 | 13986.3534 | 2838.687 |  |  | 1.7037 | 16463 | 5091.3204 | 68.1498
|  | ENWL | Contracted for 2021 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2021 | [6 empty] | 6.3082 |  | 13986.3534 | 2838.687 |  |  | 1.7037 |  | 5091.3204 | 68.1498
|  | ENWL | Tendered for 2022 | [6 empty] | 6.4689 | 3167.5 | 15316.7934 | 2910.984 |  |  | 1.8459 | 16463 | 5713.5998 | 73.8342
|  | ENWL | Contracted for 2022 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2022 | [6 empty] | 6.4689 |  | 15316.7934 | 2910.984 |  |  | 1.8459 |  | 5713.5998 | 73.8342
|  | ENWL | Tendered for 2023 | [6 empty] | 6.6094 | 4368 | 15739.1693 | 2974.235 |  |  | 2.0437 | 16505 | 6539.0571 | 81.7469
|  | ENWL | Contracted for 2023 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2023 | [6 empty] | 6.6094 |  | 15739.1693 | 2974.235 |  |  | 2.0437 |  | 6539.0571 | 81.7469
|  | ENWL | Tendered for 2024 | [6 empty] | 6.7503 | 4344 | 19395.0809 | 3037.6391 |  |  | 2.2456 | 16780 | 7302.5738 | 89.823
|  | ENWL | Contracted for 2024 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2024 | [6 empty] | 6.7503 |  | 19395.0809 | 3037.6391 |  |  | 2.2456 |  | 7302.5738 | 89.823
|  | ENWL | Tendered for 2025 | [6 empty] | 6.8905 | 4344 | 19900.6932 | 3100.7356 |  |  | 2.4463 | 17131 | 8082.0152 | 97.8512
|  | ENWL | Contracted for 2025 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2025 | [6 empty] | 6.8905 |  | 19900.6932 | 3100.7356 |  |  | 2.4463 |  | 8082.0152 | 97.8512
| 2020 tender | ENWL | Tendered for 2020 | [12 empty] | 1.1221 | 1763 | 557.6047 | 44.8826
|  | ENWL | Contracted for 2020 | [12 empty] | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2020 | [12 empty] | 1.1221 |  | 557.6047 | 44.8826
|  | ENWL | Tendered for 2021 | [12 empty] | 6.7247 | 2405 | 3433.9127 | 268.9894
|  | ENWL | Contracted for 2021 | [12 empty] | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2021 | [12 empty] | 6.7247 |  | 3433.9127 | 268.9894
|  | ENWL | Tendered for 2022 | [6 empty] | 2.3 | 227.5 | 1494.7216 | 713 |  |  | 13.2736 | 12637.5 | 47664.9427 | 530.9437
|  | ENWL | Contracted for 2022 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2022 | [6 empty] | 2.3 |  | 1494.7216 | 713 |  |  | 13.2736 |  | 47664.9427 | 530.9437
|  | ENWL | Tendered for 2023 | [6 empty] | 2.8 | 357 | 2377.1539 | 868 |  |  | 13.7222 | 12501 | 53438.3304 | 548.8893
|  | ENWL | Contracted for 2023 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2023 | [6 empty] | 2.8 |  | 2377.1539 | 868 |  |  | 13.7222 |  | 53438.3304 | 548.8893
|  | ENWL | Tendered for 2024 | [6 empty] | 3.3 | 416.5 | 2990.2859 | 1023 |  |  | 14.3631 | 14122 | 57745.1965 | 574.5245
|  | ENWL | Contracted for 2024 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2024 | [6 empty] | 3.3 |  | 2990.2859 | 1023 |  |  | 14.3631 |  | 57745.1965 | 574.5245
|  | ENWL | Tendered for 2025 | [6 empty] | 3.6 | 416.5 | 3090.3734 | 1116 |  |  | 14.7649 | 15298 | 60940.3946 | 590.5975
|  | ENWL | Contracted for 2025 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2025 | [6 empty] | 3.6 |  | 3090.3734 | 1116 |  |  | 14.7649 |  | 60940.3946 | 590.5975
|  | ENWL | Tendered for 2026 | [6 empty] | 3.9712 | 420 | 3235.3604 | 1231.0676 |  |  | 15.2076 | 16508 | 68818.7023 | 608.3033
|  | ENWL | Contracted for 2026 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  | ENWL | Remaining for 2026 | [6 empty] | 3.9712 |  | 3235.3604 | 1231.0676 |  |  | 15.2076 |  | 68818.7023 | 608.3033
|  | ENWL | Projections to be tendered in 2020 | [12 empty] | 1.1 | 4171.5 | 1606.75 | 28
NPG | 2017 tender | NPG | Contracted for 2018
| 2019 tender | NPG | Tendered for 2019 | 0
|  | NPG | Contracted for 2019
|  | NPG | Uncontracted for 2019
|  | NPG | Tendered for 2020 | 12
|  | NPG | Contracted for 2020 | 0
|  | NPG | Remaining for 2020 | 12
|  | NPG | Tendered for 2021
|  | NPG | Contracted for 2021
|  | NPG | Remaining for 2021
|  | NPG | Tendered for 2022
|  | NPG | Contracted for 2022
|  | NPG | Remaining for 2022
|  | NPG | Tendered for 2023
|  | NPG | Contracted for 2023
|  | NPG | Remaining for 2023
| 2020 tender | NPG | Tendered for 2020
|  | NPG | Contracted for 2020
|  | NPG | Remaining for 2020
|  | NPG | Tendered for 2021
|  | NPG | Contracted for 2021
|  | NPG | Remaining for 2021
|  | NPG | Tendered for 2022
|  | NPG | Contracted for 2022
|  | NPG | Remaining for 2022
|  | NPG | Tendered for 2023
|  | NPG | Contracted for 2023
|  | NPG | Remaining for 2023
|  | NPG | Tendered for 2024
|  | NPG | Contracted for 2024
|  | NPG | Remaining for 2024
|  | NPG | Tendered for 2025
|  | NPG | Contracted for 2025
|  | NPG | Remaining for 2025
|  | NPG | Tendered for 2026
|  | NPG | Contracted for 2026
|  | NPG | Remaining for 2026
|  | NPG | Projections to be tendered in 2020
NPG
SPEN | 2017 tender | SPEN | Contracted for 2018
| 2019 tenders | SPEN | Tendered for 2019 | [12 empty] | 46 | 1146.5 | 12885.5 | 138 |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SPEN | Contracted for 2019
|  | SPEN | Uncontracted for 2019
|  | SPEN | Tendered for 2020 | [12 empty] | 79.01 | 18613.9167 | 119050.9642 | 237.03 |  |  | 43.395 |  |  | 7.128 | 3775.25 | 6705.479 | 21.384
|  | SPEN | Contracted for 2020 | [12 empty] | 4.18 | 162 | 677 | 12.54 |  |  | 7.5 | [10 empty] | 11.68
|  | SPEN | Remaining for 2020
|  | SPEN | Tendered for 2021 | [12 empty] | 33.462 | 10939.9333 | 51434.7687 | 100.386 |  |  | 48.51 |  |  | 8.58 | 5011 | 10405.5683 | 25.74
|  | SPEN | Contracted for 2021 | [12 empty] | 4.73 | 352.75 | 1579 | 26.73 |  |  | 7.5 | [10 empty] | 16.41
|  | SPEN | Remaining for 2021
|  | SPEN | Tendered for 2022 | [12 empty] | 29.502 | 9147.75 | 47189.9015 | 88.506 |  |  | 53.9 |  |  | 5.016 | 4867.25 | 12370.0033 | 15.048
|  | SPEN | Contracted for 2022 | [12 empty] | 11.4 | 729.75 | 4535 | 64.08 |  |  | 7.5 | [10 empty] | 28.88
|  | SPEN | Remaining for 2022
|  | SPEN | Tendered for 2023 | [12 empty] | 5.23 | 408 | 2135 | 15.69 |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SPEN | Contracted for 2023 | [12 empty] | 5.23 | 408 | 2135 | 15.69 | [13 empty] | 5.23
|  | SPEN | Remaining for 2023
| 2020 tender | SPEN | Tendered for 2020 | [12 empty] | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SPEN | Contracted for 2020
|  | SPEN | Remaining for 2020
|  | SPEN | Tendered for 2021 | [12 empty] | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SPEN | Contracted for 2021
|  | SPEN | Remaining for 2021
|  | SPEN | Tendered for 2022 | [12 empty] | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  | SPEN | Contracted for 2022
|  | SPEN | Remaining for 2022
|  | SPEN | Tendered for 2023 | 53.7178 | 111246 | 38945 | 38945 | 0 | 0 | [6 empty] | 17.749 | 3303.9 | 17561.6666 | 53.247 |  |  | 43.4369 |  |  | 6.5622 | 2302.7 | 6065.0479 | 19.6866
|  | SPEN | Contracted for 2023
|  | SPEN | Remaining for 2023
|  | SPEN | Tendered for 2024 | 74 | 292106 | 101374 | 101374 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 44.9812 |  |  | 7 | 2262 | 5479.4764 | 27.8452
|  | SPEN | Contracted for 2024
|  | SPEN | Remaining for 2024
|  | SPEN | Tendered for 2025 | 94.1 | 342825 | 168067 | 168067 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 45.2833 |  |  | 7.2 | 2934.8 | 7221.3469 | 28.9219
|  | SPEN | Contracted for 2025
|  | SPEN | Remaining for 2025
|  | SPEN | Tendered for 2026 | 158.6 | 464153 | 249665 | 249665 | 0 | 0 | [6 empty] | 8 | 3195 | 25560 | 24 |  |  | 53.4179 |  |  | 8 | 3630 | 9335.6734 | 32.5732
|  | SPEN | Contracted for 2026
|  | SPEN | Remaining for 2026
|  | SPEN | Tendered for 2027 | 262.4 | 679316 | 351980 | 351980 | 0 | 0 | [6 empty] | 8.4 | 3195 | 26838 | 25.2 |  |  | 56.8091 |  |  | 9.4 | 4214.8 | 12451.2401 | 37.4462
|  | SPEN | Contracted for 2027
|  | SPEN | Remaining for 2027
|  | SPEN | Tendered for 2028 | 268.1 | 456869 | 201219 | 201219 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 9.4 | 2677.2 | 8746.1767 | 37.4462
|  | SPEN | Contracted for 2028
|  | SPEN | Remaining for 2028
|  | SPEN | Projections to be tendered in 2020
SSEN | 2017 tender | SSEN | Contracted for 2018 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2019 tenders | SSEN | Tendered for 2019 | 0 | 0 | 0 | 0 | 0 | - | 2 | 336 | 672 | 672 | 672 | 100 | 2 | N/A | N/A | - | - | - | 2 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | SSEN | Contracted for 2019 | 0 | 0 | 0 | 0 | 0 | - | 2 | 336 | 672 | 672 | 672 | 100 | 2 | N/A | N/A | 6720 | 6720 | 100 | 2 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | SSEN | Uncontracted for 2019 | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | SSEN | Tendered for 2020
|  | SSEN | Contracted for 2020
|  | SSEN | Remaining for 2020
|  | SSEN | Tendered for 2021
|  | SSEN | Contracted for 2021 | [27 empty] | 1.5 |  | 2.6 | 1.69
|  | SSEN | Remaining for 2021
|  | SSEN | Tendered for 2022
|  | SSEN | Contracted for 2022 | [27 empty] | 1.5 |  | 2.8 | 1.69
|  | SSEN | Remaining for 2022
|  | SSEN | Tendered for 2023
|  | SSEN | Contracted for 2023 | [27 empty] | 1.5 |  | 3 | 1.69
|  | SSEN | Remaining for 2023
| 2020 tender | SSEN | Tendered for 2020 | 2 | 2640 | 5280 | 5280 | - | 0 | 247.5 | 336 | 83160 | 83160 | 0 | 0 | 247.5 | N/A | N/A |  | 0 | 0 | 247.5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247.5 |  | 0
|  | SSEN | Contracted for 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 55.2 | 336 | 18547.2 | 18547.2 | 0 | 0 | 55.2 | N/A | N/A |  | 0 | 0 | 55.2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.2 |  | 0
|  | SSEN | Remaining for 2020 | 0 |  | 0 | 5280 | 0 | 0 | 192.3 |  | 64612.8 | 64612.8 | 0 | 0 | 192.3 |  | 0 | 0 | 0 | 0 | 192.3 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 192.3 |  | 0
|  | SSEN | Tendered for 2021
|  | SSEN | Contracted for 2021 | 0 | 0 | 0 | 5280 | 0 | 0 | 192.3 | 0 | 64612.8 | 64612.8 | 0 | 0 | 192.3 | 0 | 0 | 0 | 0 | 0 | 192.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 192.3
|  | SSEN | Remaining for 2021
|  | SSEN | Tendered for 2022
|  | SSEN | Contracted for 2022 | [27 empty] | 2.037 |  | 33.131 | 67.302
|  | SSEN | Remaining for 2022
|  | SSEN | Tendered for 2023
|  | SSEN | Contracted for 2023 | [27 empty] | 2.037 |  | 33.631 | 71.032
|  | SSEN | Remaining for 2023
|  | SSEN | Tendered for 2024
|  | SSEN | Contracted for 2024 | [27 empty] | 2.037 |  | 36.131 | 73.012
|  | SSEN | Remaining for 2024
|  | SSEN | Tendered for 2025
|  | SSEN | Contracted for 2025 | [27 empty] | 2.037 |  | 38.631 | 76.771
|  | SSEN | Remaining for 2025
|  | SSEN | Tendered for 2026
|  | SSEN | Contracted for 2026 | [27 empty] | 2.037 |  | 39.531 | 80.459
|  | SSEN | Remaining for 2026
|  | SSEN | Projections to be tendered in 2020
UKPN | 2017 tender | UKPN | Contracted for 2018 | [6 empty] | 0.3 | 1482 | 284.2 | 3.2 | [20 empty] | 0.3
| 2019 tender | UKPN | Tendered for 2019 | [6 empty] | 113.727 | 16041 | 73537.073 | 2012.441
|  | UKPN | Contracted for 2019 | [6 empty] | 0.95 | 3710 | 154.05 | 7.35 | [19 empty] | 0.9 | 0.05
|  | UKPN | Uncontracted for 2019 | [6 empty] | 112.777 |  | 73383.023 | 2005.091
|  | UKPN | Tendered for 2020 | [6 empty] | 99.219 | 12773.5 | 53137.463 | 1647.519
|  | UKPN | Contracted for 2020 | [6 empty] | 18.69 | 3676 | 12550.035 | 321.09 | [17 empty] | 2.99 |  | 7.88 | 7.82
|  | UKPN | Remaining for 2020 | [6 empty] | 80.529 |  | 40587.428 | 1326.429
|  | UKPN | Tendered for 2021 | [6 empty] | 93.13 | 9495 | 40373.59 | 1565.105
|  | UKPN | Contracted for 2021 | [6 empty] | 5.79 | 1921.5 | 909.315 | 82.99 | [17 empty] | 1.5 |  | 2.6 | 1.69
|  | UKPN | Remaining for 2021 | [6 empty] | 87.34 |  | 39464.275 | 1482.115
|  | UKPN | Tendered for 2022 | [6 empty] | 106.621 | 9499 | 44718.6 | 1827.799
|  | UKPN | Contracted for 2022 | [6 empty] | 5.99 | 1923.5 | 945.515 | 84.59 | [17 empty] | 1.5 |  | 2.8 | 1.69
|  | UKPN | Remaining for 2022 | [6 empty] | 100.631 |  | 43773.085 | 1743.209
|  | UKPN | Tendered for 2023 | [6 empty] | 91.231 | 4419 | 25881.345 | 1618.271
|  | UKPN | Contracted for 2023 | [6 empty] | 6.19 | 1936.5 | 987.53 | 86.19 | [17 empty] | 1.5 |  | 3 | 1.69
|  | UKPN | Remaining for 2023 | [6 empty] | 85.041 |  | 24893.815 | 1532.081
| 2020 tender | UKPN | Tendered for 2020 | 10.914 | 3692 | 624.904 | 624.904 |  |  | 61.289 | 20418 | 49964.19 | 1573.518
|  | UKPN | Contracted for 2020 | 1.75 | 2149 | 174.465 | 174.465 |  |  | 12.947 | 13114 | 6321.208 | 377.835 |  |  | 72 | [14 empty] | 2.284 |  | 33.031 | 51.418
|  | UKPN | Remaining for 2020 | 9.164 |  | 450.439 | 450.439 |  |  | 48.342 |  | 43642.982 | 1195.683
|  | UKPN | Tendered for 2021 | 12.643 | 3692 | 675.138 | 675.138 |  |  | 154.549 | 23588.5 | 31035.184 | 1648.826 |  |  | 150.343
|  | UKPN | Contracted for 2021 | 1.91 | 2149 | 188.385 | 188.385 |  |  | 29.931 | 19788.5 | 17386.209 | 639.848 |  |  | 72 | [14 empty] | 2.377 |  | 34.031 | 67.469
|  | UKPN | Remaining for 2021 | 10.733 |  | 486.753 | 486.753 |  |  | 37.418 |  | 13648.975 | 1008.978
|  | UKPN | Tendered for 2022 | 13.649 | 3692 | 727.758 | 727.758 |  |  | 153.322 | 23338 | 32281.451 | 1819.701 |  |  | 161.649
|  | UKPN | Contracted for 2022 | 1.95 | 2149 | 191.865 | 191.865 |  |  | 28.484 | 19541 | 17399.519 | 655.07 |  |  | 72 | [14 empty] | 2.037 |  | 33.131 | 67.302
|  | UKPN | Remaining for 2022 | 11.699 |  | 535.893 | 535.893 |  |  | 43.238 |  | 14881.932 | 1164.631
|  | UKPN | Tendered for 2023 | 14.895 | 3692 | 788.69 | 788.69 |  |  | 179.933 | 23418.5 | 37431.987 | 2134.769 |  |  | 183.095
|  | UKPN | Contracted for 2023 | 1.99 | 2149 | 195.345 | 195.345 |  |  | 32.674 | 19658 | 19868.412 | 782.07 |  |  | 72 | [14 empty] | 2.037 |  | 33.631 | 71.032
|  | UKPN | Remaining for 2023 | 12.905 |  | 593.345 | 593.345 |  |  | 56.759 |  | 17563.575 | 1352.699
|  | UKPN | Tendered for 2024 | 16.582 | 3692 | 860.288 | 860.288 |  |  | 200.689 | 23294 | 44094.026 | 2694.198 |  |  | 201.482
|  | UKPN | Contracted for 2024 | 2.03 | 2149 | 198.825 | 198.825 |  |  | 37.114 | 19120 | 22716.979 | 1008.234 |  |  | 72 | [14 empty] | 2.037 |  | 36.131 | 73.012
|  | UKPN | Remaining for 2024 | 14.552 |  | 661.463 | 661.463 |  |  | 74.175 |  | 21377.047 | 1685.964
|  | UKPN | Tendered for 2025 | 18.106 | 3692 | 934.321 | 934.321 |  |  | 226.317 | 23339 | 49876.501 | 3076.254 |  |  | 239.806
|  | UKPN | Contracted for 2025 | 2.07 | 2149 | 202.305 | 202.305 |  |  | 43.333 | 19125 | 25702.811 | 1203.914 |  |  | 72 | [14 empty] | 2.037 |  | 38.631 | 76.771
|  | UKPN | Remaining for 2025 | 16.036 |  | 732.016 | 732.016 |  |  | 81.384 |  | 24173.69 | 1872.34
|  | UKPN | Tendered for 2026 | 19.78 | 3692 | 1012.81 | 1012.81 |  |  | 253.073 | 23321 | 55440.774 | 3473.081 |  |  | 285.38
|  | UKPN | Contracted for 2026 | 2.13 | 2149 | 207.525 | 207.525 |  |  | 47.861 | 19121 | 28790.385 | 1363.994 |  |  | 72 | [14 empty] | 2.037 |  | 39.531 | 80.459
|  | UKPN | Remaining for 2026 | 17.65 |  | 805.285 | 805.285 |  |  | 89.712 |  | 26650.389 | 2109.087
|  | UKPN | Tendered for 2027 | [6 empty] | 70.9 | [5 empty] | 196.2
|  | UKPN | Contracted for 2027
|  | UKPN | Remaining for 2027
|  | UKPN | Projections to be tendered in 2020 | 96 | [5 empty] | 640 | [5 empty] | 1418
WPD | 2017 tender | WPD | Contracted for 2017 | [18 empty] | 35.3
| 2018 tender | WPD | Contracted for 2018 | [6 empty] | 23.5 | 2088 |  |  |  |  | 33.8 | 8900 | 1870 | 45 |  |  | 58.5
| 2019 tender | WPD | Tendered for 2019 | [6 empty] | 19.8 | 1750 | 1730 | 1730 |  |  | 164.5 | 43760 | 45480 | 1182 |  |  | 184.3
|  | WPD | Contracted for 2019 | [6 empty] | 7.3 | 1750 | 638 | 638 | 126 | 0.92 | 115.8 | 43760 | 32016 | 832 | 464 | 0.92 | 123.1 | [8 empty] | 1.2 | 0 | 97.3 | 0.5 | 24.1
|  | WPD | Uncontracted for 2019 | [6 empty] | 12.5 |  | 1092 | 1092 |  |  | 48.7 |  | 13464 | 350 |  |  | 61.2
|  | WPD | Tendered for 2020 | [6 empty] | 19.8 | 1750 | 1730 | 1730 |  |  | 164.5 | 43760 | 45480 | 1182 |  |  | 184.3
|  | WPD | Contracted for 2020 | [6 empty] | 7.3 | 1750 | 638 | 638 |  |  | 115.8 | 43760 | 32016 | 832 |  |  | 123.1 | [8 empty] | 1.2 | 0 | 97.3 | 0.5 | 24.1
|  | WPD | Remaining for 2020 | [6 empty] | 12.5 |  | 1092 | 1092 |  |  | 48.7 |  | 13464 | 350
|  | WPD | Tendered for 2021 | [6 empty] | 19.8 | 1750 | 1730 | 1730 |  |  | 164.5 | 43760 | 45480 | 1182
|  | WPD | Contracted for 2021 | [6 empty] | 3.7 | 1750 | 310 | 310 |  |  | 57.9 | 43760 | 16007 | 416 |  |  | 61.6 | [8 empty] | 1.1 | 0 | 41.8 | 0.5 | 18.2
|  | WPD | Remaining for 2021 | [6 empty] | 16.1 |  | 1420 | 1420 |  |  | 106.6 |  | 29473 | 766
|  | WPD | Tendered for 2022 | [6 empty] | 19.8 | 1750 | 1730 | 1730 |  |  | 164.5 | 43760 | 45480 | 1182
|  | WPD | Contracted for 2022 | [6 empty] | 3.7 | 1750 | 310 | 310 |  |  | 57.9 | 43760 | 16007 | 416 |  |  | 61.6 | [8 empty] | 1.1 | 0 | 41.8 | 0.5 | 18.2
|  | WPD | Remaining for 2022 | [6 empty] | 16.1 |  | 1420 | 1420 |  |  | 106.6 |  | 29473 | 766
|  | WPD | Tendered for 2023 | [6 empty] | 19.8 | 1750 | 1730 | 1730 |  |  | 164.5 | 43760 | 45480 | 1182
|  | WPD | Contracted for 2023 | [6 empty] | 3.7 | 1750 | 310 | 310 |  |  | 57.9 | 43760 | 16007 | 416 |  |  | 61.6 | [8 empty] | 1.1 | 0 | 41.8 | 0.5 | 18.2
|  | WPD | Remaining for 2023 | [6 empty] | 16.1 |  | 1420 | 1420 |  |  | 106.6 |  | 29473 | 766
| 2020 tender | WPD | Tendered for 2020 | 0.28 | 480 | 134.4 | 134.4 |  |  | 49.3 | 4386 | 1472 | 1472 |  |  | 254.5 | 68151 | 125106 | 3368 |  |  | 303.8
|  | WPD | Contracted for 2020 | 0.28 | 480 | 134.4 | 134.4 |  |  | 11 | 4386 | 822 | 822 |  |  | 305.7 | 68151 | 92307 | 2485 |  |  | 316.7 | [8 empty] | 1.3 | 0 | 230.8 | 3.3 | 81.3
|  | WPD | Remaining for 2020 | [6 empty] | 32.4 | 0 | 650 | 650 |  |  | 51.6 | 0 | 32799 | 883
|  | WPD | Tendered for 2021 | [6 empty] | 49.3 | 4386 | 1472 | 1472 |  |  | 254.5 | 68151 | 125106 | 3368 |  |  | 303.8
|  | WPD | Contracted for 2021 | [6 empty] | 11 | 4386 | 822 | 822 |  |  | 305.7 | 68151 | 92307 | 2485 |  |  | 316.7 | [8 empty] | 1.3 | 0 | 230.8 | 3.3 | 81.3
|  | WPD | Remaining for 2021 | [6 empty] | 32.4 |  | 650 | 650 |  |  | 51.6 |  | 32799 | 883
|  | WPD | Tendered for 2022 | [6 empty] | 49.3 | 4386 | 1472 | 1472 |  |  | 254.5 | 68151 | 125106 | 3368 |  |  | 303.8
|  | WPD | Contracted for 2022 | [6 empty] | 5.5 | 4386 | 788 | 788 |  |  | 152.85 | 68151 | 64824 | 1746 |  |  | 158.35 | [8 empty] | 1.3 | 0 | 80.8 | 3.3 | 73
|  | WPD | Remaining for 2022 | [6 empty] | 33.1 |  | 684 | 684 |  |  | 111.97 |  | 60282 | 1622
|  | WPD | Tendered for 2023 | [6 empty] | 49.3 | 4386 | 1472 | 1472 |  |  | 254.5 | 68151 | 125106 | 3368 |  |  | 303.8
|  | WPD | Contracted for 2023 | [6 empty] | 5.5 | 4386 | 788 | 788 |  |  | 152.85 | 68151 | 64824 | 1746 |  |  | 158.35 | [8 empty] | 1.3 | 0 | 80.8 | 3.3 | 73
|  | WPD | Remaining for 2023 | [6 empty] | 33.1 |  | 684 | 684 |  |  | 111.97 |  | 60282 | 1622
|  | WPD | Tendered for 2024 | [6 empty] | 49.3 | 4386 | 1472 | 1472 |  |  | 254.5 | 68151 | 125106 | 3368 |  |  | 303.8
|  | WPD | Contracted for 2024 | [6 empty] | 5.5 | 4386 | 788 | 788 |  |  | 152.85 | 68151 | 64824 | 1746 |  |  | 158.35 | [8 empty] | 1.3 | 0 | 80.8 | 3.3 | 73
|  | WPD | Remaining for 2024 | [6 empty] | 33.1 |  | 684 | 684 |  |  | 111.97 |  | 60282 | 1622
|  | WPD | Tendered for 2025
|  | WPD | Contracted for 2025
|  | WPD | Remaining for 2025
|  | WPD | Tendered for 2026
|  | WPD | Contracted for 2026
|  | WPD | Remaining for 2026
|  | WPD | Projections to be tendered in 2020
Industry Total - Contracted for 2018 |  |  |  | 0 |  | 0 |  | 0 |  | 23.8 |  | 284.2 |  | 0 |  | 33.8 |  | 1870 |  | 0 |  | 58.5 | 0 |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0.3 | 0
Industry Total - Contracted for 2019 |  |  |  | 0 |  | 0 |  | 0 |  | 10.25 |  | 1464.05 |  | 798 |  | 120.8 |  | 58296 |  | 7184 |  | 125.1 | 0 |  | 0 |  |  | 0 | 0 |  | 1.2 | 2 | 98.2 | 0.55 | 24.1
Industry Total - Tendered for 2020 |  |  |  | 27.694 |  | 26880.1583 |  | 0 |  | 481.008 |  | 196678.9809 |  | 0 |  | 771.191 |  | 325103.0604 |  | 0 |  | 778.995 | 0 |  | 7.128 |  |  | 21.384 | 0 |  | 0 | 247.5 | 0 | 0 | 0
Industry Total - Contracted for 2020 |  |  |  | 2.03 |  | 308.865 |  | 0 |  | 105.137 |  | 38878.443 |  | 0 |  | 555.88 |  | 151280 |  | 0 |  | 502.5 | 0 |  | 0 |  |  | 0 | 0 |  | 7.774 | 55.2 | 380.691 | 63.038 | 105.4
Area | Definition | [6 empty] | Notes |  |  |  |  | Examples
4 Real Power Products | Flexibility that is able to be dispatched by a DNO as a result of procurement from a market and/or tender. Used to solve network constraints. This is typically compensated. End of year figures include all Flexibility that has been procured that year only. This represents additional contracted Flexibility. Projections represent Flexibility required for the upcoming year - additional system need (which will be tenderered out). Live contracted flexibility includes the total amount of contracted flexibility which is live across all years. | [6 empty] | - System need to be tendered (i.e. projections) may include planned over-procurement, but please state if this is the case - Contracted figures are likely to include some level of over-procurement - For services procured prior to agreed Open Networks common services, please allocate the figures to the product which bests fits the new definitions - If new year tenders cannot be determined by product, please give a best indication |  |  |  |  | Example 1: End of 2019 had 20MW contracted for 4 years. Additional requirement of 50MW in 2020. - This would mean 2020 projection would be 50MW - Contracted value of 50MW for end of 2020 (assuming all was procured) - Live contracted end of 2020 would be 70MW (20+50) |  | Example 2: End of 2019 had 20MW contracted for 1 year. This is also required in 2019 (re-tender) as well as additional requirement of 50MW in 2019. - This would mean 2020 projection would be 70MW - Contracted value of 70MW for end of 2020 (assuming all was procured) - Live contracted end of 2020 would be 70MW |  | Example 3: End of 2019 had 20MW contracted for 1 year. This is not required in 2020, but an additional requirement of 50MW in 2019 is required elsewhere. - This would mean 2020 projection would be 50MW - Contracted value of 50MW for end of 2020 (assuming all was procured) - Live contracted end of 2020 would be 50MW
Reactive Power | Reactive Power services procured for voltage control | [6 empty] | - These have not yet been agreed as standard products in Open Networks yet, and hence please combine into one figure
DER Mix | Figures should be produced based on the approximate aggregate across all products. Aggregation/Unknown column refers to unknown mixes of DER. 2020 projections are assumed only. | [6 empty] | - The "Aggregation/Unknown" column refers to an unknown mix of technologies, possibly due to aggregators simply assuring an output response based on a wide mix of tech
Dispatch | Take instantaneous DG output (for example) as the baseline and then instruct a reduction. The difference between instantaneous DG output and requested reduction level is the curtailment MW, then this is multiplied by the duration to get MWh

## Flex Connections
|  | ANM/Flexible Connections |  | Contracted Flexible Demand Mix | Flexible Generation Mix |  | Storage Mix | Aggregation / Unknown (MW) | Inter-tripped Generation/Operational Tripping Schemes |  | Contracted Flexible Demand Mix | Flexible Generation Mix |  | Storage Mix | Aggregation / Unknown (MW)
DNO Flexible Connections |  | Capacity (MW) | Curtailment (MWh) | Flexible Demand (MW) | Renewable - eg: Wind, Solar, Hydro, Biomass (MW) | Non-renewable - eg: Diesel, Gas, Coal (MW) | Storage (MW) | Aggregation / Unknown (MW) | Capacity (MW) | Curtailment (MWh) | Flexible Demand (MW) | Renewable - eg: Wind, Solar, Hydro, Biomass (MW) | Non-renewable - eg: Diesel, Gas, Coal (MW) | Storage (MW) | Aggregation / Unknown (MW)
ENWL | Contracted 2018 |  |  |  | 74.07 | 359.599 | 60
| Contracted 2019 |  |  |  | 10.436 | 115.97 | 21
| Projections for 2020 |  |  |  | 0.2534 | 63.163
| Contracted 2020 |  |  |  |  | 98.7 | 73.6
NPg | Contracted 2018 | 408 |  |  | 301 | 107
| Contracted 2019 | 433 |  |  | 326 | 107
| Projections for 2020 | 433 |  |  | 326 | 107
| Contracted 2020 | 433 |  |  | 326 | 107
SPEN | Contracted 2018 | 245.2 | TBC |  | 245.2 | TBC |  |  | 1922.99 | TBC | 0 | 927.55 | 673 | 323
| Contracted 2019 | 103.9 | TBC |  | 103.9 | TBC |  |  | 211.9 | TBC | 0 | 74.9 | 137
| Projections for 2020 | [7 empty] | 552.75 |  | 148.64 | 196.52 | 74 | 100 | 34
| Contracted 2020 | 6 |  |  | 6 |  |  |  | 112 |  | 40 | 40 | 12 | 14 | 6
SSEN | Contracted 2018 | 223 |  | 0 | 223 |  |  |  | 76
| Contracted 2019 | 435 |  | 0 | 435 |  |  |  | 211
| Projections for 2020 | 835 |  | 0 | 835 |  |  |  | 788.1
| Contracted 2020 | 1433.768 |  | 0 | 1434
UKPN | Contracted 2018 | 120.4 | 6702.57 | 0 | 105.7 | 14.7 | 0 | 0 | 1824
| Contracted 2019 | 120.4 | 6328.79 | 0 | 105.7 | 14.7 | 0 | 0 | 1824
| Projections for 2020 | 120.4 | 7216.9119 | 0 | 105.7 | 14.7 | 0 | 0 | 1824
| Contracted 2020 | 120.4 | 6009.5225 | 0 | 105.7 | 14.7 | 0 | 0 | 1824
WPD | Contracted 2018 | 547 | 0 | 0 | 425 | 69 | 0 | 53 | 997 | 0 | 0 | 623 | 324 | 50 | 0
| Contracted 2019 | 736 | 0 | 0 | 572 | 94 | 3.2 | 66.8 | 1287 | 0 | 0 | 804 | 419 | 64 | 0
| Projections for 2020 | 2945 | 0 | 0 | 2291 | 376 | 12.75 | 265 | 1400 | 0 | 0 | 875 | 455 | 70 | 0
Contracted 2020
Industry Total - End of 2018 |  | 1543.6 | 6702.57 | [5 empty] | 4819.99 | 0
Industry Total - End of 2019 |  | 1828.3 | 6328.79 | [5 empty] | 3533.9 | 0
Industry Total - End of 2020 |  | 1993.168 | 6009.5225 | [5 empty] | 1936 | 0
| Area | Definition
| Active Network Management/ Flexible Connections | Typically relates to access only. Generation/Demand is instructed, via manual, automated or timed controls, to limit their power usage, with the system allocating the maximum amount of capacity possible. Used to solve network constraints. This is typically not compensated (zero-marginal cost) as it is based on the original (flexible) connection agreement
| Operational Tripping Schemes | Automatic tripping of Generation to prevent abnormal system conditions occurring, particularly after a power system fault. May or may not be compensated.
| Projections for 2020 | If known
|  | Baseline | Delivered output | Duration | Value
| Generation turn down - curtailment calculation | Instantaneous value for ANM; baselined value for flexibility | Post-instruction export monitored by ANM or flexibility system | From instruction start to instruction end | MWh

## National Grid
National Grid ESO |  | Reactive Power Services - Lead (MVAr) | Reactive Power Services - Lag (MVAr) | Flexible Demand (lead/lag MVAr) | Renewable - eg: Wind, Solar, Hydro, Biomass (lead/lag MVAr) | Non-renewable - eg: Diesel, Gas, Coal (lead/lag MVAr) | Storage (lead/lag MVAr) | Aggregation / Unknown (lead/lag MVAr) | Real Power Services - Demand (MW) | Real Power Services - Generation (MW) | Flexible Demand (MW) | Renewable - eg: Wind, Solar, Hydro, Biomass (MW) | Non-renewable - eg: Diesel, Gas, Coal (MW) | Storage (MW) | Aggregation / Unknown (MW)
Contracted for 2019 |  | 1826.64 | 2527.24 | 0 | 0 | 4353.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Projections for 2020 |  | 0 | 0 | n/a | n/a | n/a | n/a | n/a | 0 | 0 | n/a | n/a | n/a | n/a | n/a
Contracted for 2020 |  | 299 | 0 | 70/0 | 0 | 229/0 | 0 | 0 | 0 | 210 | 0 | 0 | 210 | 0 | 0
Definitions
| National Grid ESO Contracted Flexibility | Contracted Flexibility (real and reactive power, turn up or turn down) that is able to be dispatched by National Grid ESO as a result of procurement from the market. Used to solve network constraints, and excludes capacity market figures and balancing services for the purpose of frequency control. This flexibility is compensated. These figures cover flexibility procured ahead of control room timescales and do not include that procured through Balancing Mechanism actions.